{"text_format":"3","workbook":"xls","n_sheets":9,"sheets":["单位工程招标控制价汇总表","分部分项工程和单价措施项目清单与计价表","总价措施项目清单与计价表","其他项目清单与计价汇总表","专业工程暂估价及结算价表","材料(工程设备)暂估单价及调整表","暂列金额明细表","规费、税金项目计价表","主要材料设备价格表(合价)(格式二)"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"单位工程招标控制价汇总表","index":0,"n_rows":33,"n_cols":7,"rows_kept":33,"merged":[[0,0,0,6],[1,1,1,3],[1,4,1,5],[2,0,2,1],[2,3,2,4],[2,5,2,6],[3,0,3,1],[3,3,3,4],[3,5,3,6],[4,0,4,1],[4,3,4,4],[4,5,4,6],[5,0,5,1],[5,3,5,4],[5,5,5,6],[6,0,6,1],[6,3,6,4],[6,5,6,6],[7,0,7,1],[7,3,7,4],[7,5,7,6],[8,0,8,1],[8,3,8,4],[8,5,8,6],[9,0,9,1],[9,3,9,4],[9,5,9,6],[10,0,10,1],[10,3,10,4],[10,5,10,6],[11,0,11,1],[11,3,11,4],[11,5,11,6],[12,0,12,1],[12,3,12,4],[12,5,12,6],[13,0,13,1],[13,3,13,4],[13,5,13,6],[14,0,14,1],[14,3,14,4],[14,5,14,6],[15,0,15,1],[15,3,15,4],[15,5,15,6],[16,0,16,1],[16,3,16,4],[16,5,16,6],[17,0,17,1],[17,3,17,4],[17,5,17,6],[18,0,18,1],[18,3,18,4],[18,5,18,6],[19,0,19,1],[19,3,19,4],[19,5,19,6],[20,0,20,1],[20,3,20,4],[20,5,20,6],[21,0,21,1],[21,3,21,4],[21,5,21,6],[22,0,22,1],[22,3,22,4],[22,5,22,6],[23,0,23,1],[23,3,23,4],[23,5,23,6],[24,0,24,1],[24,3,24,4],[24,5,24,6],[25,0,25,1],[25,3,25,4],[25,5,25,6],[26,0,26,1],[26,3,26,4],[26,5,26,6],[27,0,27,1],[27,3,27,4],[27,5,27,6],[28,0,28,1],[28,3,28,4],[28,5,28,6],[29,0,29,1],[29,3,29,4],[29,5,29,6],[30,0,30,1],[30,3,30,4],[30,5,30,6],[31,0,31,2],[31,3,31,4],[31,5,31,6],[32,0,32,6]],"flags":["formulas_cached_only"]}
["单位工程预算价汇总表"]
["工程名称:","化州市鉴江塘岗岭水厂饮用水源保护区环境综合整治工程",null,null,"标段：",null,"第1页 共1页"]
["序号",null,"汇总内容","金额",null,"其中：暂估价(元)"]
["1",null,"分部分项工程费",null,null,940817.78]
["1.1",null,"集水池+格栅",null,null,{"v":20544,"d":"20544.00"}]
["1.2",null,"一体化设备",null,null,{"v":920000,"d":"920000.00"}]
["1.3",null,"人工湿地",null,null,""]
["1.4",null,"道路工程",null,null,""]
["1.5",null,"生态护坡",null,null,""]
["1.6",null,"电气工程",null,null,""]
["1.7",null,"标识牌",null,null,""]
["1.8",null,"管网工程",null,null,273.78]
["2",null,"措施项目费",null,null,""]
["2.1",null,"绿色施工安全防护措施费",5534.53,null,""]
["2.2",null,"其他措施项目费",null,null,""]
["3",null,"其他项目费",null,null,""]
["3.1",null,"暂列金额",138408.55,null,""]
["3.2",null,"暂估价",{"v":29000,"d":"29000.00"},null,""]
["3.3",null,"计日工","",null,""]
["3.4",null,"总承包服务费","",null,""]
["3.5",null,"索赔费用","",null,""]
["3.6",null,"现场签证费用","",null,""]
["3.7",null,"预算包干费",null,null,""]
["3.8",null,"工程优质费",null,null,""]
["3.9",null,"消纳费",null,null,""]
["3.10",null,"其他费用",null,null,""]
["4",null,"规费",null,null,""]
["5",null,"税前工程造价",null,null,""]
["6",null,"增值税销项税额",null,null,""]
["7",null,"工程造价",null,null,""]
["8",null,"其中：人工费",null,null,""]
["含税工程造价合计"]
[""]

{"sheet":"分部分项工程和单价措施项目清单与计价表","index":1,"n_rows":214,"n_cols":12,"rows_kept":214,"merged":[[0,0,0,11],[1,0,1,1],[1,2,1,6],[1,7,1,9],[1,10,1,11],[2,0,3,0],[2,1,3,2],[2,3,3,3],[2,4,3,4],[2,5,3,5],[2,6,3,7],[2,8,2,11],[3,9,3,10],[4,1,4,2],[4,6,4,7],[4,9,4,10],[5,1,5,2],[5,6,5,7],[5,9,5,10],[6,1,6,2],[6,6,6,7],[6,9,6,10],[7,1,7,2],[7,6,7,7],[7,9,7,10],[8,1,8,2],[8,6,8,7],[8,9,8,10],[9,1,9,2],[9,6,9,7],[9,9,9,10],[10,1,10,2],[10,6,10,7],[10,9,10,10],[11,1,11,2],[11,6,11,7],[11,9,11,10],[12,1,12,2],[12,6,12,7],[12,9,12,10],[13,1,13,2],[13,6,13,7],[13,9,13,10],[14,1,14,2],[14,6,14,7],[14,9,14,10],[15,1,15,2],[15,6,15,7],[15,9,15,10],[16,1,16,2],[16,6,16,7],[16,9,16,10],[17,1,17,2],[17,6,17,7],[17,9,17,10],[18,1,18,2],[18,6,18,7],[18,9,18,10],[19,1,19,2],[19,6,19,7],[19,9,19,10],[20,1,20,2],[20,6,20,7],[20,9,20,10],[21,1,21,2],[21,6,21,7],[21,9,21,10],[22,0,22,8],[22,9,22,10],[24,0,24,11],[25,0,25,1],[25,2,25,6],[25,7,25,9],[25,10,25,11],[26,0,27,0],[26,1,27,2],[26,3,27,3],[26,4,27,4],[26,5,27,5],[26,6,27,7],[26,8,26,11],[27,9,27,10],[28,1,28,2],[28,6,28,7],[28,9,28,10],[29,1,29,2],[29,6,29,7],[29,9,29,10],[30,1,30,2],[30,6,30,7],[30,9,30,10],[31,1,31,2],[31,6,31,7],[31,9,31,10],[32,1,32,2],[32,6,32,7],[32,9,32,10],[33,1,33,2],[33,6,33,7],[33,9,33,10],[34,1,34,2],[34,6,34,7],[34,9,34,10],[35,1,35,2],[35,6,35,7],[35,9,35,10],[36,1,36,2],[36,6,36,7],[36,9,36,10],[37,1,37,2],[37,6,37,7],[37,9,37,10],[38,1,38,2],[38,6,38,7],[38,9,38,10],[39,1,39,2],[39,6,39,7],[39,9,39,10],[40,1,40,2],[40,6,40,7],[40,9,40,10],[41,0,41,8],[41,9,41,10],[43,0,43,11],[44,0,44,1],[44,2,44,6],[44,7,44,9],[44,10,44,11],[45,0,46,0],[45,1,46,2],[45,3,46,3],[45,4,46,4],[45,5,46,5],[45,6,46,7],[45,8,45,11],[46,9,46,10],[47,1,47,2],[47,6,47,7],[47,9,47,10],[48,1,48,2],[48,6,48,7],[48,9,48,10],[49,1,49,2],[49,6,49,7],[49,9,49,10],[50,1,50,2],[50,6,50,7],[50,9,50,10],[51,1,51,2],[51,6,51,7],[51,9,51,10],[52,1,52,2],[52,6,52,7],[52,9,52,10],[53,1,53,2],[53,6,53,7],[53,9,53,10],[54,1,54,2],[54,6,54,7],[54,9,54,10],[55,1,55,2],[55,6,55,7],[55,9,55,10],[56,1,56,2],[56,6,56,7],[56,9,56,10],[57,1,57,2],[57,6,57,7],[57,9,57,10],[58,1,58,2],[58,6,58,7],[58,9,58,10],[59,1,59,2],[59,6,59,7],[59,9,59,10],[60,1,60,2],[60,6,60,7],[60,9,60,10],[61,1,61,2],[61,6,61,7],[61,9,61,10],[62,0,62,8],[62,9,62,10],[64,0,64,11],[65,0,65,1],[65,2,65,6],[65,7,65,9],[65,10,65,11],[66,0,67,0],[66,1,67,2],[66,3,67,3],[66,4,67,4],[66,5,67,5],[66,6,67,7],[66,8,66,11],[67,9,67,10],[68,1,68,2],[68,6,68,7],[68,9,68,10],[69,1,69,2],[69,6,69,7],[69,9,69,10],[70,1,70,2],[70,6,70,7],[70,9,70,10],[71,1,71,2],[71,6,71,7],[71,9,71,10],[72,1,72,2],[72,6,72,7],[72,9,72,10],[73,1,73,2],[73,6,73,7],[73,9,73,10],[74,1,74,2],[74,6,74,7],[74,9,74,10],[75,1,75,2],[75,6,75,7],[75,9,75,10],[76,1,76,2],[76,6,76,7],[76,9,76,10],[77,1,77,2],[77,6,77,7],[77,9,77,10],[78,1,78,2],[78,6,78,7],[78,9,78,10],[79,1,79,2],[79,6,79,7],[79,9,79,10],[80,1,80,2],[80,6,80,7],[80,9,80,10],[81,1,81,2],[81,6,81,7],[81,9,81,10],[82,1,82,2],[82,6,82,7],[82,9,82,10],[83,1,83,2],[83,6,83,7],[83,9,83,10],[84,0,84,8],[84,9,84,10],[86,0,86,11],[87,0,87,1],[87,2,87,6],[87,7,87,9],[87,10,87,11],[88,0,89,0],[88,1,89,2],[88,3,89,3],[88,4,89,4],[88,5,89,5],[88,6,89,7],[88,8,88,11],[89,9,89,10],[90,1,90,2],[90,6,90,7],[90,9,90,10],[91,1,91,2],[91,6,91,7],[91,9,91,10],[92,1,92,2],[92,6,92,7],[92,9,92,10],[93,1,93,2],[93,6,93,7],[93,9,93,10],[94,1,94,2],[94,6,94,7],[94,9,94,10],[95,1,95,2],[95,6,95,7],[95,9,95,10],[96,1,96,2],[96,6,96,7],[96,9,96,10],[97,1,97,2],[97,6,97,7],[97,9,97,10],[98,1,98,2],[98,6,98,7],[98,9,98,10],[99,1,99,2],[99,6,99,7],[99,9,99,10],[100,1,100,2],[100,6,100,7],[100,9,100,10],[101,1,101,2],[101,6,101,7],[101,9,101,10],[102,1,102,2],[102,6,102,7],[102,9,102,10],[103,1,103,2],[103,6,103,7],[103,9,103,10],[104,1,104,2],[104,6,104,7],[104,9,104,10],[105,1,105,2],[105,6,105,7],[105,9,105,10],[106,1,106,2],[106,6,106,7],[106,9,106,10],[107,1,107,2],[107,6,107,7],[107,9,107,10],[108,0,108,8],[108,9,108,10],[110,0,110,11],[111,0,111,1],[111,2,111,6],[111,7,111,9],[111,10,111,11],[112,0,113,0],[112,1,113,2],[112,3,113,3],[112,4,113,4],[112,5,113,5],[112,6,113,7],[112,8,112,11],[113,9,113,10],[114,1,114,2],[114,6,114,7],[114,9,114,10],[115,1,115,2],[115,6,115,7],[115,9,115,10],[116,1,116,2],[116,6,116,7],[116,9,116,10],[117,1,117,2],[117,6,117,7],[117,9,117,10],[118,1,118,2],[118,6,118,7],[118,9,118,10],[119,1,119,2],[119,6,119,7],[119,9,119,10],[120,1,120,2],[120,6,120,7],[120,9,120,10],[121,1,121,2],[121,6,121,7],[121,9,121,10],[122,1,122,2],[122,6,122,7],[122,9,122,10],[123,1,123,2],[123,6,123,7],[123,9,123,10],[124,1,124,2],[124,6,124,7],[124,9,124,10],[125,1,125,2],[125,6,125,7],[125,9,125,10],[126,1,126,2],[126,6,126,7],[126,9,126,10],[127,1,127,2],[127,6,127,7],[127,9,127,10],[128,0,128,8],[128,9,128,10],[130,0,130,11],[131,0,131,1],[131,2,131,6],[131,7,131,9],[131,10,131,11],[132,0,133,0],[132,1,133,2],[132,3,133,3],[132,4,133,4],[132,5,133,5],[132,6,133,7],[132,8,132,11],[133,9,133,10],[134,1,134,2],[134,6,134,7],[134,9,134,10],[135,1,135,2],[135,6,135,7],[135,9,135,10],[136,1,136,2],[136,6,136,7],[136,9,136,10],[137,1,137,2],[137,6,137,7],[137,9,137,10],[138,1,138,2],[138,6,138,7],[138,9,138,10],[139,1,139,2],[139,6,139,7],[139,9,139,10],[140,1,140,2],[140,6,140,7],[140,9,140,10],[141,1,141,2],[141,6,141,7],[141,9,141,10],[142,1,142,2],[142,6,142,7],[142,9,142,10],[143,1,143,2],[143,6,143,7],[143,9,143,10],[144,1,144,2],[144,6,144,7],[144,9,144,10],[145,0,145,8],[145,9,145,10],[147,0,147,11],[148,0,148,1],[148,2,148,6],[148,7,148,9],[148,10,148,11],[149,0,150,0],[149,1,150,2],[149,3,150,3],[149,4,150,4],[149,5,150,5],[149,6,150,7],[149,8,149,11],[150,9,150,10],[151,1,151,2],[151,6,151,7],[151,9,151,10],[152,1,152,2],[152,6,152,7],[152,9,152,10],[153,1,153,2],[153,6,153,7],[153,9,153,10],[154,1,154,2],[154,6,154,7],[154,9,154,10],[155,1,155,2],[155,6,155,7],[155,9,155,10],[156,1,156,2],[156,6,156,7],[156,9,156,10],[157,1,157,2],[157,6,157,7],[157,9,157,10],[158,1,158,2],[158,6,158,7],[158,9,158,10],[159,1,159,2],[159,6,159,7],[159,9,159,10],[160,1,160,2],[160,6,160,7],[160,9,160,10],[161,1,161,2],[161,6,161,7],[161,9,161,10],[162,1,162,2],[162,6,162,7],[162,9,162,10],[163,0,163,8],[163,9,163,10],[165,0,165,11],[166,0,166,1],[166,2,166,6],[166,7,166,9],[166,10,166,11],[167,0,168,0],[167,1,168,2],[167,3,168,3],[167,4,168,4],[167,5,168,5],[167,6,168,7],[167,8,167,11],[168,9,168,10],[169,1,169,2],[169,6,169,7],[169,9,169,10],[170,1,170,2],[170,6,170,7],[170,9,170,10],[171,1,171,2],[171,6,171,7],[171,9,171,10],[172,1,172,2],[172,6,172,7],[172,9,172,10],[173,1,173,2],[173,6,173,7],[173,9,173,10],[174,1,174,2],[174,6,174,7],[174,9,174,10],[175,1,175,2],[175,6,175,7],[175,9,175,10],[176,1,176,2],[176,6,176,7],[176,9,176,10],[177,1,177,2],[177,6,177,7],[177,9,177,10],[178,1,178,2],[178,6,178,7],[178,9,178,10],[179,1,179,2],[179,6,179,7],[179,9,179,10],[180,0,180,8],[180,9,180,10],[182,0,182,11],[183,0,183,1],[183,2,183,6],[183,7,183,9],[183,10,183,11],[184,0,185,0],[184,1,185,2],[184,3,185,3],[184,4,185,4],[184,5,185,5],[184,6,185,7],[184,8,184,11],[185,9,185,10],[186,1,186,2],[186,6,186,7],[186,9,186,10],[187,1,187,2],[187,6,187,7],[187,9,187,10],[188,1,188,2],[188,6,188,7],[188,9,188,10],[189,1,189,2],[189,6,189,7],[189,9,189,10],[190,1,190,2],[190,6,190,7],[190,9,190,10],[191,1,191,2],[191,6,191,7],[191,9,191,10],[192,1,192,2],[192,6,192,7],[192,9,192,10],[193,1,193,2],[193,6,193,7],[193,9,193,10],[194,1,194,2],[194,6,194,7],[194,9,194,10],[195,0,195,8],[195,9,195,10],[197,0,197,11],[198,0,198,1],[198,2,198,6],[198,7,198,9],[198,10,198,11],[199,0,200,0],[199,1,200,2],[199,3,200,3],[199,4,200,4],[199,5,200,5],[199,6,200,7],[199,8,199,11],[200,9,200,10],[201,1,201,2],[201,6,201,7],[201,9,201,10],[202,1,202,2],[202,6,202,7],[202,9,202,10],[203,1,203,2],[203,6,203,7],[203,9,203,10],[204,1,204,2],[204,6,204,7],[204,9,204,10],[205,1,205,2],[205,6,205,7],[205,9,205,10],[206,1,206,2],[206,6,206,7],[206,9,206,10],[207,1,207,2],[207,6,207,7],[207,9,207,10],[208,1,208,2],[208,6,208,7],[208,9,208,10],[209,1,209,2],[209,6,209,7],[209,9,209,10],[210,1,210,2],[210,6,210,7],[210,9,210,10],[211,1,211,2],[211,6,211,7],[211,9,211,10],[212,0,212,8],[212,9,212,10],[213,0,213,8],[213,9,213,10]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:",null,"化州市鉴江塘岗岭水厂饮用水源保护区环境综合整治工程",{"$nulls":4},"标段:",null,null,"第1页, 共11页"]
["序号","项目编号",null,"项目名称","项目特征描述","计量\n单位","工程量",null,"金 额(元)"]
[{"$nulls":8},"综合单价","合价",null,"其中：\n暂估价"]
["","",null,"集水池+格栅","","","",{"$nulls":4},""]
["1","040101003001",null,"挖基坑土方","1、挖掘机挖沟槽、基坑土方 三类土","m3",337.457,{"$nulls":4},""]
["2","050101009001",null,"种植土回(换)填","1、填耕植土 机械","m3",24.156,{"$nulls":4},""]
["3","040103001001",null,"回填方","1、回填土 夯实机夯实 槽、坑","m3",232.865,{"$nulls":4},""]
["4","011301001001",null,"天棚抹灰","1、混凝土天棚  水泥砂浆面 ","m2",{"v":22.84,"d":"22.840"},{"$nulls":4},""]
["5","010103002001",null,"余方弃置","1、挖掘机装土方\n2、运距：综合考虑","m3",104.592,{"$nulls":4},""]
["6","040103001002",null,"回填3:7砂石","1、回填 砂石","m3",{"v":0.76,"d":"0.760"},{"$nulls":4},""]
["7","040601008001",null,"现浇混凝土池柱","1、现浇混凝土池 矩柱  普通预拌混凝土 C30 抗渗P6","m3",0.048,{"$nulls":4},""]
["8","040601006001",null,"现浇混凝土池底板","1、现浇钢筋混凝土池 底板 普通预拌混凝土 C30 抗渗P6","m3",14.794,{"$nulls":4},""]
["9","040601009001",null,"现浇混凝土池梁","1、现浇混凝土池 梁 普通预拌混凝土 C30 抗渗P6","m3",1.032,{"$nulls":4},""]
["10","040601011001",null,"现浇混凝土顶板","1、现浇混凝土池 顶板 普通预拌混凝土 C30 抗渗P6","m3",3.989,{"$nulls":4},""]
["11","040303001001",null,"混凝土垫层","1、混凝土垫层 普通预拌混凝土 C15","m3",3.696,{"$nulls":4},""]
["12","040601007001",null,"现浇混凝土池壁","1、现浇钢筋混凝土池 池壁 普通预拌混凝土 C30 抗渗P6","m3",{"v":22.71,"d":"22.710"},{"$nulls":4},""]
["13","040601027001",null,"1:2水泥砂浆防水","1、20mm厚 预拌水泥防水砂浆 1:2","m2",{"v":168.21,"d":"168.210"},{"$nulls":4},""]
["14","040901001001",null,"现浇构件钢筋","1、钢筋制作、安装 箍筋制作、安装 Φ10mm以内","t",0.063,{"$nulls":4},""]
["15","040901001002",null,"现浇构件钢筋","1、钢筋制作、安装 带肋钢筋 Φ10～25mm","t",{"v":2.87,"d":"2.870"},{"$nulls":4},""]
["16","010904004001",null,"钢板止水带","1、3mm厚钢板止水带","m",{"v":22.4,"d":"22.400"},{"$nulls":4},""]
["17","011101003001",null,"轻集料混凝土找坡","1、工程部位:集水池顶\n2、找坡层厚度、材料:最薄处30mmLC5.0轻集料混凝土找坡2%","m2",24.375,{"$nulls":4},""]
["本页小计",{"$nulls":10},""]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:",null,"化州市鉴江塘岗岭水厂饮用水源保护区环境综合整治工程",{"$nulls":4},"标段:",null,null,"第2页, 共11页"]
["序号","项目编号",null,"项目名称","项目特征描述","计量\n单位","工程量",null,"金 额(元)"]
[{"$nulls":8},"综合单价","合价",null,"其中：\n暂估价"]
["18","011101006001",null,"平面砂浆找平层","1、部位:集水池顶\n2、找平层厚度、砂浆配合比:20mm,水泥砂浆1:3","m2",24.375,{"$nulls":4},""]
["19","010904001001",null,"楼(地)面卷材防水","1、工程部位:集水池顶\n2、卷材规格、厚度:2厚合成高分子防水卷材\n3、卷材规格、厚度:4厚耐根穿刺自粘防水卷材","m2",24.375,{"$nulls":4},""]
["20","011101003002",null,"细石混凝土楼地面","1、部位:集水池顶\n2、找平层厚度、砂浆配合比:10mm,水泥砂浆1:3\n3、保护层厚度、混凝土等级：40厚C20细石混凝土","m2",24.375,{"$nulls":4},""]
["21","040601023001",null,"塑料板排水层","1、名称：20高塑料板排水层\n2、规格：块料式\n3、土工布过滤层","m2",24.375,{"$nulls":4},""]
["22","040504001001",null,"井盖","1、井盖材质、规格：球墨铸铁井沟双开井盖 1000*1000","块",{"v":1,"d":"1.000"},{"$nulls":4},""]
["23","040504001002",null,"井盖","1、井盖材质、规格：球墨铸铁双开井盖 1200*800","块",{"v":2,"d":"2.000"},{"$nulls":4},""]
["24","040504001003",null,"井盖","1、井盖材质、规格：玻璃格栅井盖 1000*1000","块",{"v":1,"d":"1.000"},{"$nulls":4},""]
["25","040504001004",null,"格栅","1、格栅材质、规格：机械格栅 B=500 L=2900 不锈钢","套",{"v":1,"d":"1.000"},{"$nulls":4},{"v":20394,"d":"20394.00"}]
["26","040504001005",null,"不锈钢网篮","1、材质、规格：304 不锈钢网篮  300*200*150","块",{"v":1,"d":"1.000"},{"$nulls":4},{"v":150,"d":"150.00"}]
["27","010516001001",null,"螺栓","1、螺栓种类:高强螺栓\n2、规格:M16","t",0.007,{"$nulls":4},""]
["28","010606013001",null,"不锈钢钢链条 ","1、材质、规格：不锈钢钢链条 ","t",0.002,{"$nulls":4},""]
["29","030109011001",null,"潜水泵","1、名称:潜污泵\n2、规格:50WQ-12-10-0.75JY-2P\n3、材质:不锈钢\n4、单机试运转要求:符合规范和设计要求","台",{"v":2,"d":"2.000"},{"$nulls":4},""]
["30","030801016001",null,"低压塑料管","1、名称：内衬钢丝软管 2、规格：Φ63","m",{"v":9,"d":"9.000"},{"$nulls":4},""]
["本页小计"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:",null,"化州市鉴江塘岗岭水厂饮用水源保护区环境综合整治工程",{"$nulls":4},"标段:",null,null,"第3页, 共11页"]
["序号","项目编号",null,"项目名称","项目特征描述","计量\n单位","工程量",null,"金 额(元)"]
[{"$nulls":8},"综合单价","合价",null,"其中：\n暂估价"]
["","",null,"一体化设备","","","",{"$nulls":4},""]
["31","010101003001",null,"挖沟槽土方","1、挖掘机挖沟槽、基坑土方 一、二类土","m3",303.264,{"$nulls":4},""]
["32","010103001001",null,"回填方","1、回填土 夯实机夯实 槽、坑","m3",{"v":158.47,"d":"158.470"},{"$nulls":4},""]
["33","010103002002",null,"余方弃置","1、挖掘机装土方\n2、运距：综合考虑","m3",144.794,{"$nulls":4},""]
["34","040103001003",null,"回填3:7砂石","1、回填 砂石","m3",15.552,{"$nulls":4},""]
["35","040103001004",null,"回填中砂","\n1、填中砂","m3",34.625,{"$nulls":4},""]
["36","040103001005",null,"回填种植土","1、竖井回填 土//换：种植土","m3",15.498,{"$nulls":4},""]
["37","010501001001",null,"垫层","1、混凝土种类:商品混凝土\n2、混凝土强度等级:C15","m3",4.284,{"$nulls":4},""]
["38","010501004001",null,"满堂基础","1、混凝土种类:商品混凝土\n2、混凝土强度等级:C30","m3",{"v":20,"d":"20.000"},{"$nulls":4},""]
["39","010515001001",null,"现浇构件钢筋","1、现浇构件带肋钢筋 Ф25以内","t",0.992,{"$nulls":4},""]
["40","010516002001",null,"预埋铁件","1、预埋铁件//换：钢板  5mm","t",0.023,{"$nulls":4},""]
["41","010516002002",null,"预埋铁件","1、预埋螺纹钢筋Ф10","t",0.044,{"$nulls":4},""]
["42","030302002001",null,"一体化设备","1、名称：一体化设备\n2、型号规格：ECO-MBR-200，Φ2.6*9.9*3.1m4\n3、参数：200m3/d\n4、容积负荷：Ls=0.35~0.5kgBOD/(m3/d)\n5、组膜实现自动相互反洗；配套ORDS系统，全自动运行，无人值守，手机APP实现实时掌握设备运行状况\n6、处理工艺：AO+MBR，配套包括MNR膜组件1套、鼓风机、曝气系统、填料、回流装置、控制系统等\n7、供电方式：380V供电50Hz","套",{"v":1,"d":"1.000"},{"$nulls":4},{"v":920000,"d":"920000.00"}]
["","",null,"人工湿地","","","",{"$nulls":4},""]
["43","010101003002",null,"挖沟槽土方","1、挖掘机挖沟槽、基坑土方 一、二类土","m3",113.846,{"$nulls":4},""]
["本页小计"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:",null,"化州市鉴江塘岗岭水厂饮用水源保护区环境综合整治工程",{"$nulls":4},"标段:",null,null,"第4页, 共11页"]
["序号","项目编号",null,"项目名称","项目特征描述","计量\n单位","工程量",null,"金 额(元)"]
[{"$nulls":8},"综合单价","合价",null,"其中：\n暂估价"]
["44","010103001002",null,"回填方","1、回填土 夯实机夯实 槽、坑","m3",51.476,{"$nulls":4},""]
["45","010103002003",null,"余方弃置","1、挖掘机装土方\n2、自卸汽车运土方 \n3、运距：综合考虑","m3",{"v":62.27,"d":"62.270"},{"$nulls":4},""]
["46","040601025001",null,"滤料铺设","1、滤料铺设 碎石  10-20mm","m3",6.068,{"$nulls":4},""]
["47","040601025002",null,"滤料铺设","1、滤料铺设 碎石  20-40mm","m3",{"v":15.17,"d":"15.170"},{"$nulls":4},""]
["48","040601025003",null,"滤料铺设","1、滤料铺设 碎石  30-60mm","m3",9.102,{"$nulls":4},""]
["49","040601025004",null,"滤料铺设","1、滤料铺设 陶粒 2-20mm","m3",9.102,{"$nulls":4},""]
["50","050102012001",null,"铺种草皮","1、草皮种类：草皮\n2、保养期：3个月\n3、铺钟方式：10*10cm/件","m2",{"v":12,"d":"12.000"},{"$nulls":4},""]
["51","050102008001",null,"栽植花卉","1、花卉种类：鸢尾\n2、冠幅：15cm\n3、高度：50cm\n4、养护期：3个月","m2",{"v":8,"d":"8.000"},{"$nulls":4},""]
["52","050102008002",null,"栽植花卉","1、花卉种类：菖蒲\n2、冠幅：15cm\n3、高度：50cm\n4、养护期：3个月","m2",{"v":6,"d":"6.000"},{"$nulls":4},""]
["53","050102008003",null,"栽植花卉","1、花卉种类：再力花\n2、冠幅：15cm\n3、高度：50cm\n4、养护期：3个月","m2",{"v":10,"d":"10.000"},{"$nulls":4},""]
["54","050102008004",null,"栽植花卉","1、花卉种类：美人蕉\n2、冠幅：15cm\n3、高度：50cm\n4、养护期：3个月","m2",{"v":6,"d":"6.000"},{"$nulls":4},""]
["55","040601006002",null,"现浇混凝土池底板","1、现浇钢筋混凝土池 底板  普通预拌混凝土 C30 抗渗P6","m3",15.525,{"$nulls":4},""]
["56","040601018001",null,"预制混凝凝土盖板","1、管、渠道及其他 井盖板木模\n2、混凝土穿孔板制 普通预拌混凝土 C30 抗渗P6","m3",0.039,{"$nulls":4},""]
["57","040303001002",null,"混凝土垫层","1、混凝土垫层 普通预拌混凝土 C15","m3",4.249,{"$nulls":4},""]
["58","040601007002",null,"现浇混凝土池壁","1、现浇钢筋混凝土池 池壁 普通预拌混凝土 C30 抗渗P6","m3",11.858,{"$nulls":4},""]
["59","040901001003",null,"现浇构件钢筋","1、钢筋制作、安装 箍筋制作、安装 Φ10mm以内","t",0.036,{"$nulls":4},""]
["本页小计",{"$nulls":10},""]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:",null,"化州市鉴江塘岗岭水厂饮用水源保护区环境综合整治工程",{"$nulls":4},"标段:",null,null,"第5页, 共11页"]
["序号","项目编号",null,"项目名称","项目特征描述","计量\n单位","工程量",null,"金 额(元)"]
[{"$nulls":8},"综合单价","合价",null,"其中：\n暂估价"]
["60","040901001004",null,"现浇构件钢筋","1、钢筋制作、安装 带肋钢筋 Φ10～25mm","t",2.639,{"$nulls":4},""]
["61","040901001005",null,"现浇构件钢筋","1、钢筋制作、安装 圆钢 Φ10mm以内","t",0.002,{"$nulls":4},""]
["62","011204003001",null,"浅蓝色瓷砖墙面","1、墙面镶贴陶瓷面砖密缝 1:2水泥砂浆 块料周长600内","m2",{"v":9.68,"d":"9.680"},{"$nulls":4},""]
["63","040305004001",null,"砖砌体","1、部位：布水管支柱\n2、材质：烧结实心砖砌筑","m3",0.553,{"$nulls":4},""]
["","",null,"道路工程","","","",{"$nulls":4},""]
["64","040201002001",null,"压实地基","1、压实路基 ","m2",{"v":100.28,"d":"100.280"},{"$nulls":4},""]
["65","040202015001",null,"灰土基层","1、人工铺筑灰土层 厚度 30cm\n2、灰土","m2",{"v":20.28,"d":"20.280"},{"$nulls":4},""]
["66","040203007001",null,"10cm水泥混凝土路面","1、水泥混凝土路面 厚度 10cm 普通预拌混凝土 C20","m2",{"v":20.28,"d":"20.280"},{"$nulls":4},""]
["67","040203007002",null,"18cm水泥混凝土路面","1、水泥混凝土路面 厚度 18cm 普通预拌混凝土 C35","m2",{"v":80,"d":"80.000"},{"$nulls":4},""]
["68","040202015002",null,"水泥稳定碎(砾)石基层","1、铺筑水泥石屑混合料 水泥含量 5% 厚度 15cm","m2",{"v":80,"d":"80.000"},{"$nulls":4},""]
["69","041001001001",null,"拆除路面","1、小型机械拆除混凝土类路面层 无筋 厚20cm\n2、自卸汽车运土方 运距1km","m2",{"v":80,"d":"80.000"},{"$nulls":4},""]
["","",null,"生态护坡","","","",{"$nulls":4},""]
["70","040101005001",null,"河道清淤","1、挖掘机挖淤泥\n2、自卸汽车运淤泥 运距1km","m3",{"v":780,"d":"780.000"},{"$nulls":4},""]
["71","050101007001",null,"清除地被植物","1、绿化地铲除杂草","m2",{"v":3120,"d":"3120.000"},{"$nulls":4},""]
["72","050102013001",null,"喷播植草","1、喷播植草","m2",{"v":2080,"d":"2080.000"},{"$nulls":4},""]
["","",null,"电气工程","","","",{"$nulls":4},""]
["73","030408003001",null,"电缆保护管","1、名称:电缆保护管\n2、材质:塑料管\n3、规格:PVC DN40\n4、敷设方式:暗敷","m",{"v":40,"d":"40.000"},{"$nulls":4},""]
["74","030408003002",null,"电缆保护管","1、名称:电缆保护管\n2、材质:塑料管\n3、规格:PVC DN60\n4、敷设方式:暗敷","m",{"v":10,"d":"10.000"},{"$nulls":4},""]
["本页小计",{"$nulls":10},""]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:",null,"化州市鉴江塘岗岭水厂饮用水源保护区环境综合整治工程",{"$nulls":4},"标段:",null,null,"第6页, 共11页"]
["序号","项目编号",null,"项目名称","项目特征描述","计量\n单位","工程量",null,"金 额(元)"]
[{"$nulls":8},"综合单价","合价",null,"其中：\n暂估价"]
["75","030408001001",null,"电力电缆","1、名称:电力电缆\n2、型号:VV\n3、规格:3*4.0+2*2.5mm2\n4、材质:铜芯\n5、敷设方式:暗敷","m",{"v":50,"d":"50.000"},{"$nulls":4},""]
["76","030408001002",null,"电力电缆","1、名称:电力电缆\n2、型号:VV\n3、规格:3*2.5+1*1.5mm2\n4、材质:铜芯\n5、敷设方式:暗敷","m",{"v":30,"d":"30.000"},{"$nulls":4},""]
["77","030408002001",null,"控制电缆","1、名称:控制电缆\n2、型号:KVVP \n3、规格:3*1.0mm2\n4、材质:铜芯\n5、敷设方式:暗敷","m",{"v":15,"d":"15.000"},{"$nulls":4},""]
["78","030411006001",null,"接线盒","1、名称：防水接线盒\n2、材质：塑料","个",{"v":1,"d":"1.000"},{"$nulls":4},""]
["79","030404017001",null,"配电箱","1、名称：成套配电箱（含浪涌保护器、漏电开关）\n2、安装方式：悬挂式\n3、规格:500*300*200","台",{"v":1,"d":"1.000"},{"$nulls":4},""]
["","",null,"标识牌","","","",{"$nulls":4},""]
["80","010101003003",null,"挖沟槽土方","1、挖掘机挖沟槽、基坑土方 一、二类土","m3",0.972,{"$nulls":4},""]
["81","010103001003",null,"回填方","1、回填土 夯实机夯实 槽、坑","m3",0.702,{"$nulls":4},""]
["82","010103002004",null,"余方弃置","1、人工装车\n2、自卸汽车运土方 \n3、运距：综合考虑","m3",{"v":0.27,"d":"0.270"},{"$nulls":4},""]
["83","010501003001",null,"独立基础","1、工程部位:支墩\n2、混凝土种类:商品混凝土\n3、混凝土强度等级:C20","m3",{"v":0.27,"d":"0.270"},{"$nulls":4},""]
["84","010515001002",null,"现浇构件钢筋","1、现浇构件带肋钢筋 Ф25以内","t",0.026,{"$nulls":4},""]
["85","040205004001",null,"标志牌","1、名称：“化州环保 ”标识牌\n2、尺寸：1.8m*2m\n3、贴木纹膜不锈钢100*100*2mm\n3、2mm厚不锈钢板","块",{"v":1,"d":"1.000"},{"$nulls":4},""]
["","",null,"管网工程","","","",{"$nulls":4},""]
["86","040601006003",null,"化粪池现浇混凝土池底板","1、现浇钢筋混凝土池 底板普通预拌混凝土 C25","m3",{"v":28.5,"d":"28.500"},{"$nulls":4},""]
["本页小计",{"$nulls":10},""]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:",null,"化州市鉴江塘岗岭水厂饮用水源保护区环境综合整治工程",{"$nulls":4},"标段:",null,null,"第7页, 共11页"]
["序号","项目编号",null,"项目名称","项目特征描述","计量\n单位","工程量",null,"金 额(元)"]
[{"$nulls":8},"综合单价","合价",null,"其中：\n暂估价"]
["87","040303001003",null,"化粪池混凝土垫层","1、现浇基础 混凝土垫层普通预拌混凝土 C10","m3",{"v":11.4,"d":"11.400"},{"$nulls":4},""]
["88","040601007003",null,"化粪池现浇混凝土池壁","1、现浇钢筋混凝土池 池壁普通预拌混凝土 C25","m3",{"v":69,"d":"69.000"},{"$nulls":4},""]
["89","040601010001",null,"化粪池现浇混凝土池盖板","1、现浇混凝土池 无梁盖(普通预拌混凝土 C25)//换：普通预拌混凝土 C25","m3",{"v":7.38,"d":"7.380"},{"$nulls":4},""]
["90","040601018002",null,"化粪池预制混凝凝土板","1、管、渠道及其他 井盖板木模\n2、混凝土盖板制作普通预拌混凝土 C25","m3",{"v":5.82,"d":"5.820"},{"$nulls":4},""]
["91","040901001006",null,"化粪池现浇构件钢筋","1、钢筋制作、安装 带肋钢筋 Φ10～25mm","t",13.974,{"$nulls":4},""]
["92","040601027002",null,"化粪池刚性防水","1、1:2预拌水泥防水砂浆 ","m2",{"v":100.8,"d":"100.800"},{"$nulls":4},""]
["93","040504001006",null,"化粪池井盖","1、井盖材质、规格：双层加锁井盖及井座 Φ700","块",{"v":1,"d":"1.000"},{"$nulls":4},""]
["94","040501004001",null,"塑料管","1、材质及规格:PVC塑料管DN32\n2、连接形式:粘接\n3、PVC塑料弯头Φ32\n4、PVC补芯Φ32\n5、同径三通Φ32","m",{"v":37.5,"d":"37.500"},{"$nulls":4},""]
["95","040501004002",null,"塑料管","1、材质及规格:PVC塑料管Φ25\n2、连接形式:粘接","m",{"v":37,"d":"37.000"},{"$nulls":4},""]
["96","040501004003",null,"塑料管","1、材质及规格:PVC塑料管Φ50\n2、连接形式:粘接\n3、PVC塑料弯头Φ50\n4、PVC清扫口Φ50","m",{"v":26,"d":"26.000"},{"$nulls":4},""]
["97","040501004004",null,"塑料管","1、塑料管安装(粘接) |Φ110\n2、PVC塑料塑料管|Φ110\n3、PVC 弯头|Φ110\n4、同径三通|Φ110*110 PVC\n5、异径三通|Φ110*50 PVC\n6、PVC清扫口|Φ110","m",{"v":40,"d":"40.000"},{"$nulls":4},""]
["本页小计",{"$nulls":10},""]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:",null,"化州市鉴江塘岗岭水厂饮用水源保护区环境综合整治工程",{"$nulls":4},"标段:",null,null,"第8页, 共11页"]
["序号","项目编号",null,"项目名称","项目特征描述","计量\n单位","工程量",null,"金 额(元)"]
[{"$nulls":8},"综合单价","合价",null,"其中：\n暂估价"]
["98","040501004005",null,"塑料管","1、塑料管安装(粘接) |Φ40\n2、PVC塑料塑料管|Φ40\n3、PVC 弯头|Φ40\n4、PVC大小头|Φ40","m",{"v":21,"d":"21.000"},{"$nulls":4},""]
["99","040501004006",null,"塑料管","1、塑料管安装(粘接) |Φ63\n2、PVC塑料塑料管|Φ63\n3、PVC 弯头|Φ63","m",{"v":4,"d":"4.000"},{"$nulls":4},""]
["100","040501004007",null,"塑料管","1、塑料管安装(粘接) |Φ75\n2、PVC塑料塑料管|Φ75\n3、PVC 弯头|Φ75\n4、同径三通|Φ75*75 PVC\n5、异径三通|Φ75*63 PVC","m",{"v":12,"d":"12.000"},{"$nulls":4},""]
["101","040501004008",null,"塑料管","1、材质及规格:PVC塑料管Φ160\n2、连接形式:粘接","m",{"v":15,"d":"15.000"},{"$nulls":4},""]
["102","040501004009",null,"塑料管","1、PVC管安装承插式胶圈接口 管径Φ500\n2、橡胶圈|Φ500\n3、PVC管|Φ500\n4、PVC 弯头|Φ500","m",{"v":15,"d":"15.000"},{"$nulls":4},""]
["103","040501004010",null,"塑料管","1、材质及规格:UPVC塑料管DN32\n2、连接形式:粘接\n3、UPVC塑料弯头Φ32","m",{"v":19.6,"d":"19.600"},{"$nulls":4},""]
["104","040501004011",null,"塑料管","1、材质及规格:UPVC塑料管Φ75\n2、连接形式:粘接","m",{"v":2.5,"d":"2.500"},{"$nulls":4},""]
["105","040501004012",null,"塑料管","1、材质及规格:UPVC塑料管Φ50\n2、连接形式:粘接","m",{"v":6.5,"d":"6.500"},{"$nulls":4},""]
["106","040501004013",null,"塑料管","1、材质及规格:UPVC塑料管Φ110\n2、连接形式:粘接","m",{"v":3.5,"d":"3.500"},{"$nulls":4},""]
["107","040501004014",null,"塑料管","1、材质及规格:UPVC塑料管Φ63\n2、连接形式:粘接","m",{"v":7.5,"d":"7.500"},{"$nulls":4},""]
["108","040501004015",null,"塑料管","1、材质及规格:UPVC塑料管Φ30\n2、连接形式:粘接","m",{"v":0.5,"d":"0.500"},{"$nulls":4},""]
["109","040501004016",null,"塑料管","1、材质及规格:UPVC塑料管Φ100\n2、连接形式:粘接","m",{"v":2.35,"d":"2.350"},{"$nulls":4},""]
["本页小计",{"$nulls":10},""]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:",null,"化州市鉴江塘岗岭水厂饮用水源保护区环境综合整治工程",{"$nulls":4},"标段:",null,null,"第9页, 共11页"]
["序号","项目编号",null,"项目名称","项目特征描述","计量\n单位","工程量",null,"金 额(元)"]
[{"$nulls":8},"综合单价","合价",null,"其中：\n暂估价"]
["110","040501004017",null,"塑料管","1、材质及规格:UPVC塑料管Φ90\n2、连接形式:粘接","m",{"v":0.9,"d":"0.900"},{"$nulls":4},""]
["111","040501004018",null,"塑料管","1、材质及规格:UPVC塑料管Φ160\n2、连接形式:粘接","m",{"v":0.9,"d":"0.900"},{"$nulls":4},""]
["112","040501004019",null,"塑料管","1、UPVC塑料管安装(承插式胶圈接口) 管径300mm以内\n2、橡胶圈|DN300\n3、UPVC|DN300","m",{"v":80,"d":"80.000"},{"$nulls":4},""]
["113","040502005001",null,"阀门","1、种类:碟阀\n2、材质及规格:塑料阀门,DN65\n3、连接形式:螺纹连接\n4、试验要求:按设计及规范要求","个",{"v":2,"d":"2.000"},{"$nulls":4},""]
["114","040502005002",null,"阀门","1、种类:球阀\n2、材质及规格:塑料阀门,DN50\n3、连接形式:螺纹连接\n4、试验要求:按设计及规范要求","个",{"v":1,"d":"1.000"},{"$nulls":4},""]
["115","030810001001",null,"法兰","1、材质：PVC法兰\n2、规格：Φ75","副",{"v":4,"d":"4.000"},{"$nulls":4},""]
["116","041001007001",null,"拆除砖石结构","1、拆除砖砌其它构筑物\n2、人力车运土方 运距 综合考虑","m3",{"v":0.25,"d":"0.250"},{"$nulls":4},""]
["117","010101003004",null,"挖沟槽土方","1、挖掘机挖沟槽、基坑土方 一、二类土","m3",51.688,{"$nulls":4},""]
["118","040103001006",null,"回填中砂","1、填中砂","m3",39.117,{"$nulls":4},""]
["119","040501004020",null,"塑料管","1、垫层 砂\n2、双壁波纹管安装[PVC-U或HDPE](承插式胶圈接口) 管径400mm以内\n3、橡胶圈|DN400\n4、双壁波纹管|DN400","m",{"v":20,"d":"20.000"},{"$nulls":4},""]
["120","040501004021",null,"塑料管","1、垫层 砂\n2、双壁波纹管安装[PVC-U或HDPE](承插式胶圈接口) 管径500mm以内\n3、橡胶圈|DN500\n4、双壁波纹管|DN500","m",{"v":51,"d":"51.000"},{"$nulls":4},""]
["本页小计",{"$nulls":10},""]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:",null,"化州市鉴江塘岗岭水厂饮用水源保护区环境综合整治工程",{"$nulls":4},"标段:",null,null,"第10页, 共11页"]
["序号","项目编号",null,"项目名称","项目特征描述","计量\n单位","工程量",null,"金 额(元)"]
[{"$nulls":8},"综合单价","合价",null,"其中：\n暂估价"]
["121","040504001007",null,"Φ1250检查井","1、非定型井垫层 普通预拌混凝土 C10\n2、砖砌 圆形//换：烧结实心砖 240×115×53\n3、砖墙 勾缝\n4、砖墙 抹灰 井内侧\n5、混凝土井盖、井圈制作 普通预拌混凝土 C25\n6、Φ12钢筋\n7、检查井防坠网|Φ1250","座",{"v":3,"d":"3.000"},{"$nulls":4},23.63]
["122","040504001008",null,"Φ1500检查井","1、非定型井垫层 普通预拌混凝土 C10\n2、砖砌 圆形//换：烧结实心砖 240×115×53\n3、砖墙 勾缝\n4、砖墙 抹灰 井内侧\n5、混凝土井盖、井圈制作 普通预拌混凝土 C25\n6、Φ12钢筋\n7、检查井防坠网|Φ1500","座",{"v":1,"d":"1.000"},{"$nulls":4},10.15]
["123","040504002001",null,"混凝土截流井","1、非定型井垫层 普通预拌混凝土 C15\n2、现浇钢筋混凝土池 池壁 20cm以内普通预拌混凝土 C30 抗渗P6\n3、混凝土井圈制作 普通预拌混凝土 C30\n4、再生树脂井盖\n5、圆钢格栅 |520*490\n6、A3钢|5#槽钢\n7、防坠网|Φ700\n8、塑钢踏步","座",{"v":1,"d":"1.000"},{"$nulls":4},{"v":240,"d":"240.00"}]
["124","040901001007",null,"截流井现浇构件钢筋","1、钢筋制作、安装 带肋钢筋 Φ10～25mm","t",0.506,{"$nulls":4},""]
["","",null,"措施项目","","","",{"$nulls":4},""]
["","AQFHWMSG",null,"绿色施工安全防护措施费","","","",{"$nulls":4},""]
["125","041101004001",null,"沉井脚手架","","m2",{"v":23.44,"d":"23.440"},{"$nulls":4},""]
["126","041102040001",null,"桥梁支架","","m3",{"v":1,"d":"1.000"},{"$nulls":4},""]
["127","SGXCWDHLSZDWD001",null,"施工现场围挡和临时占地围挡","","项",{"v":1,"d":"1.000"},{"$nulls":4},""]
["本页小计"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:",null,"化州市鉴江塘岗岭水厂饮用水源保护区环境综合整治工程",{"$nulls":4},"标段:",null,null,"第11页, 共11页"]
["序号","项目编号",null,"项目名称","项目特征描述","计量\n单位","工程量",null,"金 额(元)"]
[{"$nulls":8},"综合单价","合价",null,"其中：\n暂估价"]
["128","SGWDZM001",null,"施工围档照明","","项",{"v":1,"d":"1.000"},null,"","",null,""]
["129","DLAQFFDB001",null,"独立安全防护挡板","","m2",{"v":1,"d":"1.000"},null,"","",null,""]
["130","DZSBJC001",null,"吊装设备基础","","项",{"v":1,"d":"1.000"},null,"","",null,""]
["","QTCSF",null,"其他措施项目费","","","",{"$nulls":4},""]
["131","041102012001",null,"柱模板","1、现浇混凝土模板制作、安装 立柱、端柱、灯柱","m2",{"v":0.84,"d":"0.840"},{"$nulls":4},""]
["132","041102013001",null,"梁模板","1、现浇混凝土模板制作、安装 支撑梁","m2",9.091,{"$nulls":4},""]
["133","041102033001",null,"顶板模板","1、构筑物及池类 顶板 复合木模","m2",58.425,{"$nulls":4},""]
["134","041102035001",null,"池壁(隔墙)模板","1、构筑物及池类 矩形池壁 木模","m2",{"v":384.93,"d":"384.930"},{"$nulls":4},""]
["135","041102001001",null,"垫层模板","1、混凝土基础垫层 木模","m2",21.549,{"$nulls":4},""]
["136","041102034001",null,"池底模板","1、构筑物及池类 池底木模","m2",{"v":50.26,"d":"50.260"},{"$nulls":4},""]
["137","QT001",null,"其他费用","","项",{"v":1,"d":"1.000"},{"$nulls":4},""]
["本页小计",{"$nulls":10},""]
["合计",{"$nulls":10},940817.78]

{"sheet":"总价措施项目清单与计价表","index":2,"n_rows":15,"n_cols":13,"rows_kept":15,"merged":[[0,0,0,12],[1,0,1,1],[1,2,1,7],[1,8,1,10],[1,11,1,12],[2,1,2,2],[2,5,2,6],[2,7,2,8],[2,10,2,11],[3,1,3,2],[3,5,3,6],[3,7,3,8],[3,10,3,11],[4,1,4,2],[4,5,4,6],[4,7,4,8],[4,10,4,11],[5,1,5,2],[5,5,5,6],[5,7,5,8],[5,10,5,11],[6,1,6,2],[6,5,6,6],[6,7,6,8],[6,10,6,11],[7,1,7,2],[7,5,7,6],[7,7,7,8],[7,10,7,11],[8,1,8,2],[8,5,8,6],[8,7,8,8],[8,10,8,11],[9,1,9,2],[9,5,9,6],[9,7,9,8],[9,10,9,11],[10,1,10,2],[10,5,10,6],[10,7,10,8],[10,10,10,11],[11,1,11,2],[11,5,11,6],[11,7,11,8],[11,10,11,11],[12,1,12,2],[12,5,12,6],[12,7,12,8],[12,10,12,11],[13,1,13,2],[13,5,13,6],[13,7,13,8],[13,10,13,11],[14,0,14,6],[14,7,14,8],[14,10,14,11],[15,0,15,5],[15,6,15,12]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称:",null,"化州市鉴江塘岗岭水厂饮用水源保护区环境综合整治工程",{"$nulls":5},"标段:",null,null,"第1页, 共1页"]
["序号","项目编码",null,"项目名称","计算基础","费率\n(%)",null,"金额\n(元)",null,"调整费率\n(%)","调整后金额(元)",null,"备注"]
["1","AQFHWMSG",null,"绿色施工安全防护措施费","","",null,"",null,"","",null,""]
["1.1","AXSJSCSXMF",null,"按系数计算的其他安全文明施工措施项目","","",{"$nulls":3},"","",null,""]
["1.1.1","041109001001",null,"按系数计算的绿色施工安全防护措施费(包括绿色施工、临时设施、安全施工和用工实名管理)","分部分项人工费+分部分项机具费",4.35,{"$nulls":3},"",""]
["","",null,"小计","","",{"$nulls":3},"","",null,""]
["2","QTCSF",null,"其他措施项目费","","",null,"",null,"","",null,""]
["2.1","粤041109009001",null,"文明工地增加费","分部分项人工费+分部分项机具费","",null,"",null,"",""]
["2.2","041109002001",null,"夜间施工增加费","夜间施工人工费",{"v":20,"d":"20.00"},null,"",null,"",""]
["2.3","JTSJYZZF001",null,"交通疏解员增加费","分部分项人工费","",null,"",null,"",""]
["2.4","DXGXJCJXF001",null,"地下管线交叉降效费","","",null,"",null,"","",null,""]
["2.5","粤041109008001",null,"赶工措施费","(1-GGXS)*(QRG+QJX)",{"v":30,"d":"30.00"},null,"",null,"","",null,""]
["","",null,"小计","","",null,"",null,"","",null,""]
["合计",{"$nulls":8},"","",null,""]

{"sheet":"其他项目清单与计价汇总表","index":3,"n_rows":16,"n_cols":8,"rows_kept":16,"merged":[[0,0,0,7],[1,0,1,1],[1,2,1,4],[1,5,1,6],[2,1,2,2],[2,4,2,5],[2,6,2,7],[3,1,3,2],[3,4,3,5],[3,6,3,7],[4,1,4,2],[4,4,4,5],[4,6,4,7],[5,1,5,2],[5,4,5,5],[5,6,5,7],[6,1,6,2],[6,4,6,5],[6,6,6,7],[7,1,7,2],[7,4,7,5],[7,6,7,7],[8,1,8,2],[8,4,8,5],[8,6,8,7],[9,1,9,2],[9,4,9,5],[9,6,9,7],[10,1,10,2],[10,4,10,5],[10,6,10,7],[11,1,11,2],[11,4,11,5],[11,6,11,7],[12,1,12,2],[12,4,12,5],[12,6,12,7],[13,1,13,2],[13,4,13,5],[13,6,13,7],[14,1,14,2],[14,4,14,5],[14,6,14,7],[15,0,15,2],[15,4,15,5],[15,6,15,7]],"flags":["formulas_cached_only"]}
["其他项目清单与计价汇总表"]
["工程名称：",null,"化州市鉴江塘岗岭水厂饮用水源保护区环境综合整治工程",null,null,"标段:",null,"第1页, 共1页"]
["序号","项目名称",null,"金额(元)","结算金额(元)",null,"备注"]
["1","暂列金额",null,138408.55,"",null,""]
["2","暂估价",null,{"v":29000,"d":"29000.00"},"",null,""]
["3","材料暂估价",null,null,"",null,""]
["4","专业工程暂估价",null,null,"",null,""]
["5","计日工",null,"","",null,""]
["6","总承包服务费",null,"","",null,""]
["7","索赔费用",null,"","",null,""]
["8","现场签证费用",null,"","",null,""]
["9","预算包干费",null,null,""]
["10","工程优质费",null,"",""]
["11","消纳费",null,"",""]
["12","其他费用",null,"","",null,""]
["总计",{"$nulls":3},"",null,""]

{"sheet":"专业工程暂估价及结算价表","index":4,"n_rows":9,"n_cols":10,"rows_kept":9,"merged":[[0,0,0,9],[1,0,1,1],[1,2,1,5],[1,6,1,7],[1,8,1,9],[2,1,2,2],[2,5,2,6],[2,7,2,8],[3,1,3,2],[3,5,3,6],[3,7,3,8],[4,1,4,2],[4,5,4,6],[4,7,4,8],[5,1,5,2],[5,5,5,6],[5,7,5,8],[6,1,6,2],[6,5,6,6],[6,7,6,8],[7,0,7,3],[7,5,7,6],[7,7,7,8],[8,0,8,9]],"flags":["formulas_cached_only"]}
["专业工程暂估价表"]
["工程名称:",null,"化州市鉴江塘岗岭水厂饮用水源保护区环境综合整治工程",{"$nulls":3},"标段:",null,"第1页, 共1页"]
["序号","工程名称",null,"工程内容","暂估金额(元)","结算金额(元)",null,"差额±(元)",null,"备注"]
["1","疏通管道 UPVC DN200",null,"疏通管道内粪便等杂物",null,"",null,"",null,""]
["2","疏通管道 UPVC DN160",null,"疏通管道内粪便等杂物",null,"",null,"",null,""]
["3","吊车运输",null,"因现场施工条件复杂，严格管控人员进出，每日可施工的时间短，施工所需材料、设备、废置土方需要由吊车运输，历时2个月，吊车规格：25t",null,"",null,"",null,""]
["4","原检查井清理",null,"清理井内粪便等杂物",null,"",null,"",null,""]
["合计",{"$nulls":4},"",null,"",null,""]
[""]

{"sheet":"材料(工程设备)暂估单价及调整表","index":5,"n_rows":12,"n_cols":15,"rows_kept":12,"merged":[[0,0,0,14],[1,0,1,1],[1,2,1,8],[1,9,1,11],[1,12,1,14],[2,0,3,0],[2,1,3,2],[2,3,3,3],[2,4,2,5],[2,6,2,7],[2,8,2,10],[2,11,2,13],[2,14,3,14],[3,8,3,9],[3,11,3,12],[4,1,4,2],[4,8,4,9],[4,11,4,12],[5,1,5,2],[5,8,5,9],[5,11,5,12],[6,1,6,2],[6,8,6,9],[6,11,6,12],[7,1,7,2],[7,8,7,9],[7,11,7,12],[8,1,8,2],[8,8,8,9],[8,11,8,12],[9,1,9,2],[9,8,9,9],[9,11,9,12],[10,1,10,2],[10,8,10,9],[10,11,10,12],[11,0,11,3],[11,8,11,9],[11,11,11,12]],"flags":["formulas_cached_only"]}
["材料(工程设备)暂估单价及调整表"]
["工程名称:",null,"化州市鉴江塘岗岭水厂饮用水源保护区环境综合整治工程",{"$nulls":6},"标段:",null,null,"第1页, 共1页"]
["序号","材料（工程设备）\n名称、规格、型号",null,"计量\n单位","数量",null,"暂估(元)",null,"确认(元)",null,null,"差额±(元)",null,null,"备注"]
[{"$nulls":4},"暂估","确认","单价","合价","单价",null,"合价","单价",null,"合价"]
["1","机械格栅 B=500 L=2900 不锈钢",null,"套",{"v":1,"d":"1.000"},"",null,null,"",null,"","",null,"",""]
["2","304 不锈钢网篮  300*200*150 成品",null,"块",{"v":1,"d":"1.000"},"",null,null,"",null,"","",null,"",""]
["3","一体化设备ECO-MBR-200，Φ2.4*9.9*3.1m",null,"套",{"v":1,"d":"1.000"},"",null,null,"",null,"","",null,"",""]
["4","检查井防坠网Φ1250",null,"套",0.445,"",null,null,"",null,"","",null,"",""]
["5","检查井防坠网Φ1500",null,"套",0.121,"",null,null,"",null,"","",null,"",""]
["6","防坠网Φ700",null,"套",{"v":1,"d":"1.000"},"",null,null,"",null,"","",null,"",""]
["7","塑钢踏步",null,"座",{"v":1,"d":"1.000"},"",null,null,"",null,"","",null,"",""]
["合计",{"$nulls":3},"","",null,null,"",null,"","",null,"",""]

{"sheet":"暂列金额明细表","index":6,"n_rows":5,"n_cols":8,"rows_kept":5,"merged":[[0,0,0,7],[1,0,1,1],[1,2,1,4],[1,5,1,6],[2,1,2,2],[2,4,2,5],[2,6,2,7],[3,1,3,2],[3,4,3,5],[3,6,3,7],[4,0,4,3],[4,4,4,5],[4,6,4,7]],"flags":["formulas_cached_only"]}
["暂列金额明细表"]
["工程名称:",null,"化州市鉴江塘岗岭水厂饮用水源保护区环境综合整治工程",null,null,"标段:",null,"第1页, 共1页"]
["序号","项目名称",null,"计量单位","暂列金额(元)",null,"备注"]
["1","暂列金额",null,"",138408.55]
["合计",{"$nulls":5},""]

{"sheet":"规费、税金项目计价表","index":7,"n_rows":6,"n_cols":10,"rows_kept":6,"merged":[[0,0,0,9],[1,0,1,1],[1,2,1,5],[1,6,1,7],[1,8,1,9],[2,1,2,2],[2,3,2,4],[2,5,2,6],[2,7,2,8],[3,1,3,2],[3,3,3,4],[3,5,3,6],[3,7,3,8],[4,1,4,2],[4,3,4,4],[4,5,4,6],[4,7,4,8],[5,0,5,6],[5,7,5,8],[6,0,6,3],[6,4,6,9]],"flags":["formulas_cached_only"]}
["规费、税金项目计价表"]
["工程名称:",null,"化州市鉴江塘岗岭水厂饮用水源保护区环境综合整治工程",{"$nulls":3},"标段:",null,"第1页, 共1页"]
["序号","项目名称",null,"计算基础",null,"计算基数",null,"计算费率(%)",null,"金额(元)"]
["1","规费",null,"",null,"",null,"",null,""]
["2","增值税销项税额",null,"税前工程造价",{"$nulls":3},{"v":9,"d":"9.00"}]
["合计",{"$nulls":6},""]

{"sheet":"主要材料设备价格表(合价)(格式二)","index":8,"n_rows":166,"n_cols":11,"rows_kept":166,"merged":[[0,0,0,10],[1,0,1,1],[1,2,1,8],[1,9,1,10],[2,1,2,2],[2,8,2,9],[3,1,3,2],[3,8,3,9],[4,1,4,2],[4,8,4,9],[5,1,5,2],[5,8,5,9],[6,1,6,2],[6,8,6,9],[7,1,7,2],[7,8,7,9],[8,1,8,2],[8,8,8,9],[9,1,9,2],[9,8,9,9],[10,1,10,2],[10,8,10,9],[11,1,11,2],[11,8,11,9],[12,1,12,2],[12,8,12,9],[13,1,13,2],[13,8,13,9],[14,1,14,2],[14,8,14,9],[15,1,15,2],[15,8,15,9],[16,1,16,2],[16,8,16,9],[17,1,17,2],[17,8,17,9],[18,1,18,2],[18,8,18,9],[19,1,19,2],[19,8,19,9],[20,1,20,2],[20,8,20,9],[21,1,21,2],[21,8,21,9],[22,1,22,2],[22,8,22,9],[23,1,23,2],[23,8,23,9],[24,1,24,2],[24,8,24,9],[25,1,25,2],[25,8,25,9],[26,1,26,2],[26,8,26,9],[27,1,27,2],[27,8,27,9],[28,1,28,2],[28,8,28,9],[29,0,29,10],[31,0,31,10],[32,0,32,1],[32,2,32,8],[32,9,32,10],[33,1,33,2],[33,8,33,9],[34,1,34,2],[34,8,34,9],[35,1,35,2],[35,8,35,9],[36,1,36,2],[36,8,36,9],[37,1,37,2],[37,8,37,9],[38,1,38,2],[38,8,38,9],[39,1,39,2],[39,8,39,9],[40,1,40,2],[40,8,40,9],[41,1,41,2],[41,8,41,9],[42,1,42,2],[42,8,42,9],[43,1,43,2],[43,8,43,9],[44,1,44,2],[44,8,44,9],[45,1,45,2],[45,8,45,9],[46,1,46,2],[46,8,46,9],[47,1,47,2],[47,8,47,9],[48,1,48,2],[48,8,48,9],[49,1,49,2],[49,8,49,9],[50,1,50,2],[50,8,50,9],[51,1,51,2],[51,8,51,9],[52,1,52,2],[52,8,52,9],[53,1,53,2],[53,8,53,9],[54,1,54,2],[54,8,54,9],[55,1,55,2],[55,8,55,9],[56,1,56,2],[56,8,56,9],[57,1,57,2],[57,8,57,9],[58,1,58,2],[58,8,58,9],[59,1,59,2],[59,8,59,9],[60,0,60,10],[62,0,62,10],[63,0,63,1],[63,2,63,8],[63,9,63,10],[64,1,64,2],[64,8,64,9],[65,1,65,2],[65,8,65,9],[66,1,66,2],[66,8,66,9],[67,1,67,2],[67,8,67,9],[68,1,68,2],[68,8,68,9],[69,1,69,2],[69,8,69,9],[70,1,70,2],[70,8,70,9],[71,1,71,2],[71,8,71,9],[72,1,72,2],[72,8,72,9],[73,1,73,2],[73,8,73,9],[74,1,74,2],[74,8,74,9],[75,1,75,2],[75,8,75,9],[76,1,76,2],[76,8,76,9],[77,1,77,2],[77,8,77,9],[78,1,78,2],[78,8,78,9],[79,1,79,2],[79,8,79,9],[80,1,80,2],[80,8,80,9],[81,1,81,2],[81,8,81,9],[82,1,82,2],[82,8,82,9],[83,1,83,2],[83,8,83,9],[84,1,84,2],[84,8,84,9],[85,1,85,2],[85,8,85,9],[86,1,86,2],[86,8,86,9],[87,1,87,2],[87,8,87,9],[88,1,88,2],[88,8,88,9],[89,1,89,2],[89,8,89,9],[90,0,90,10],[92,0,92,10],[93,0,93,1],[93,2,93,8],[93,9,93,10],[94,1,94,2],[94,8,94,9],[95,1,95,2],[95,8,95,9],[96,1,96,2],[96,8,96,9],[97,1,97,2],[97,8,97,9],[98,1,98,2],[98,8,98,9],[99,1,99,2],[99,8,99,9],[100,1,100,2],[100,8,100,9],[101,1,101,2],[101,8,101,9],[102,1,102,2],[102,8,102,9],[103,1,103,2],[103,8,103,9],[104,1,104,2],[104,8,104,9],[105,1,105,2],[105,8,105,9],[106,1,106,2],[106,8,106,9],[107,1,107,2],[107,8,107,9],[108,1,108,2],[108,8,108,9],[109,1,109,2],[109,8,109,9],[110,1,110,2],[110,8,110,9],[111,1,111,2],[111,8,111,9],[112,1,112,2],[112,8,112,9],[113,1,113,2],[113,8,113,9],[114,1,114,2],[114,8,114,9],[115,1,115,2],[115,8,115,9],[116,1,116,2],[116,8,116,9],[117,1,117,2],[117,8,117,9],[118,1,118,2],[118,8,118,9],[119,1,119,2],[119,8,119,9],[120,1,120,2],[120,8,120,9],[121,1,121,2],[121,8,121,9],[122,0,122,10],[124,0,124,10],[125,0,125,1],[125,2,125,8],[125,9,125,10],[126,1,126,2],[126,8,126,9],[127,1,127,2],[127,8,127,9],[128,1,128,2],[128,8,128,9],[129,1,129,2],[129,8,129,9],[130,1,130,2],[130,8,130,9],[131,1,131,2],[131,8,131,9],[132,1,132,2],[132,8,132,9],[133,1,133,2],[133,8,133,9],[134,1,134,2],[134,8,134,9],[135,1,135,2],[135,8,135,9],[136,1,136,2],[136,8,136,9],[137,1,137,2],[137,8,137,9],[138,1,138,2],[138,8,138,9],[139,1,139,2],[139,8,139,9],[140,1,140,2],[140,8,140,9],[141,1,141,2],[141,8,141,9],[142,1,142,2],[142,8,142,9],[143,1,143,2],[143,8,143,9],[144,1,144,2],[144,8,144,9],[145,1,145,2],[145,8,145,9],[146,1,146,2],[146,8,146,9],[147,1,147,2],[147,8,147,9],[148,1,148,2],[148,8,148,9],[149,1,149,2],[149,8,149,9],[150,1,150,2],[150,8,150,9],[151,1,151,2],[151,8,151,9],[152,1,152,2],[152,8,152,9],[153,1,153,2],[153,8,153,9],[154,1,154,2],[154,8,154,9],[155,0,155,10],[157,0,157,10],[158,0,158,1],[158,2,158,8],[158,9,158,10],[159,1,159,2],[159,8,159,9],[160,1,160,2],[160,8,160,9],[161,1,161,2],[161,8,161,9],[162,1,162,2],[162,8,162,9],[163,1,163,2],[163,8,163,9],[164,1,164,2],[164,8,164,9],[165,0,165,10]],"flags":["formulas_cached_only"]}
["主要材料设备价格表"]
["工程名称:",null,"化州市鉴江塘岗岭水厂饮用水源保护区环境综合整治工程",{"$nulls":6},"第1页 共6页"]
["序号","材料设备 编码",null,"材料设备名称","规格、型号等  特殊要求","单位","扣税率 (%)","数量","扣税单价 (元)",null,"扣税合价 (元)"]
["1","1",null,"同径三通|Φ75*75 PVC","","个","",{"v":1,"d":"1.000"}]
["2","00010003",null,"机上人工","","工日","",51.385]
["3","00010010",null,"人工费","","元","",103542.352]
["4","01010007",null,"热轧圆盘条 φ10","","kg",16.52,0.424]
["5","01010030",null,"热轧圆盘条 φ10以内","","t",16.52,0.103]
["6","01010040",null,"螺纹钢筋 φ25以内","","t",16.52,1.043]
["7","01010125",null,"螺纹钢筋 φ10～25","","t",16.52,20.789]
["8","02050001-0001",null,"橡胶圈","DN300","个",16.52,{"v":16.48,"d":"16.480"}]
["9","02050001-0002",null,"橡胶圈","Φ500","个",16.52,{"v":3.09,"d":"3.090"}]
["10","02050001-0003",null,"橡胶圈","DN400","个",16.52,{"v":4.12,"d":"4.120"}]
["11","02050001-0004",null,"橡胶圈","DN500","个",16.52,10.506]
["12","02090090",null,"塑料薄膜","","m2",16.52,772.619]
["13","02110100-0002",null,"PVC法兰","Φ75","m2",16.52,{"v":0.32,"d":"0.320"}]
["14","02270070",null,"土工布","","m2",16.52,23.838]
["15","03135001",null,"低碳钢焊条 综合","","kg",16.52,216.822]
["16","03213001-0001",null,"Φ12钢筋","","kg",16.52,7.605]
["17","03213001-0002",null,"预埋铁件//换：Φ12钢筋 ","","kg",16.52,2.535]
["18","03213001-0003",null,"钢板 ","5mm","kg",16.52,{"v":23.23,"d":"23.230"}]
["19","03213001-0004",null,"螺纹钢筋 ","Ф10","kg",16.52,{"v":44.44,"d":"44.440"}]
["20","04010015",null,"复合普通硅酸盐水泥   P.C 32.5","","t",16.52,2.136]
["21","04010045",null,"白色硅酸盐水泥 32.5","","t",16.52,0.001]
["22","04030015",null,"中砂（回填砂）","","m3",2.92,{"v":100.77,"d":"100.770"}]
["23","04050035-0001",null,"碎石 ","10-20mm","m3",2.92,6.189]
["24","04050035-0002",null,"碎石 ","20-40mm","m3",2.92,15.473]
["25","04050035-0003",null,"碎石 ","30-60","m3",2.92,9.284]
["26","04050115-0001",null,"陶粒","2-20mm","m3",2.92,9.284]
[""]
[]
["主要材料设备价格表"]
["工程名称:",null,"化州市鉴江塘岗岭水厂饮用水源保护区环境综合整治工程",{"$nulls":6},"第2页 共6页"]
["序号","材料设备 编码",null,"材料设备名称","规格、型号等  特殊要求","单位","扣税率 (%)","数量","扣税单价 (元)",null,"扣税合价 (元)"]
["27","04050135",null,"级配砂石","","m3",2.92,21.206]
["28","04070045",null,"石屑","","m3",2.92,16.688]
["29","04090015",null,"生石灰","","t",2.92,0.079]
["30","04090035-0001",null,"种植土","","m3",16.52,23.247]
["31","04090135",null,"余土外运","","m3",16.52,2.067]
["32","04090155",null,"熟耕土(松方)","","m3",16.52,{"v":9.36,"d":"9.360"}]
["33","04090175",null,"通用种植土(松方)","","m3",16.52,19.446]
["34","04130001-0001",null,"烧结实心砖 240×115×53","","千块",2.92,{"v":7.32,"d":"7.320"}]
["35","04290200-0001",null,"再生树脂井盖","","座",16.52,{"v":1.01,"d":"1.010"}]
["36","05030060",null,"板枋材 综合","","m3",16.52,6.481]
["37","07010023",null,"釉面砖 380×265","","m2",16.52,10.067]
["38","13050153",null,"聚氨酯防水涂料        双组份 I型","","kg",16.52,18.647]
["39","13330130-0001",null,"耐根穿刺自粘防水卷材 4厚","","m2",16.52,35.344]
["40","14030040",null,"汽油 综合","","kg",16.52,0.472]
["41","17250040-0001",null,"UPVC塑料管","Φ32*2.0","m",16.52,{"v":19.6,"d":"19.600"}]
["42","17250040-0002",null,"PVC塑料管","Φ32*2.0","m",16.52,{"v":37.5,"d":"37.500"}]
["43","17250040-0004",null,"塑料管","Φ75","m",16.52,{"v":2.5,"d":"2.500"}]
["44","17250040-0005",null,"upvc塑料管","Φ50","m",16.52,{"v":6.5,"d":"6.500"}]
["45","17250040-0006",null,"upvc塑料管","Φ110","m",16.52,{"v":3.5,"d":"3.500"}]
["46","17250040-0007",null,"upvc塑料管","Φ63","m",16.52,{"v":7.5,"d":"7.500"}]
["47","17250040-0008",null,"upvc塑料管","Φ30","m",16.52,{"v":0.5,"d":"0.500"}]
["48","17250040-0009",null,"UPVC塑料管","Φ100","m",16.52,{"v":2.35,"d":"2.350"}]
["49","17250040-0010",null,"UPVC塑料管","Φ90","m",16.52,{"v":0.9,"d":"0.900"}]
["50","17250040-0011",null,"UPVC塑料管","Φ160","m",16.52,{"v":0.9,"d":"0.900"}]
["51","17250040-0012",null,"PVC塑料管","Φ25*2.0","m",16.52,{"v":37,"d":"37.000"}]
["52","17250040-0013",null,"PVC塑料管","Φ50*2.0","m",16.52,{"v":26,"d":"26.000"}]
[""]
[]
["主要材料设备价格表"]
["工程名称:",null,"化州市鉴江塘岗岭水厂饮用水源保护区环境综合整治工程",{"$nulls":6},"第3页 共6页"]
["序号","材料设备 编码",null,"材料设备名称","规格、型号等  特殊要求","单位","扣税率 (%)","数量","扣税单价 (元)",null,"扣税合价 (元)"]
["53","17250040-0014",null,"PVC塑料塑料管","Φ110","m",16.52,{"v":40,"d":"40.000"}]
["54","17250040-0015",null,"PVC塑料管","Φ40","m",16.52,{"v":21,"d":"21.000"}]
["55","17250040-0016",null,"PVC塑料管","Φ63","m",16.52,{"v":4,"d":"4.000"}]
["56","17250040-0017",null,"PVC塑料管","Φ75","m",16.52,{"v":12,"d":"12.000"}]
["57","17250040-0018",null,"PVC塑料管","Φ160","m",16.52,{"v":15,"d":"15.000"}]
["58","17250350-0001",null,"UPVC","DN300","m",16.52,{"v":80.8,"d":"80.800"}]
["59","17250350-0002",null,"PVC管","Φ500","m",16.52,{"v":15.15,"d":"15.150"}]
["60","17250350-0003",null,"双壁波纹管","DN400","m",16.52,{"v":20.2,"d":"20.200"}]
["61","17250350-0004",null,"双壁波纹管","DN500","m",16.52,{"v":51.51,"d":"51.510"}]
["62","17310210-0001",null,"塑料排水板","","m2",16.52,25.594]
["63","18090090-0001",null,"UPVC塑料弯头","Φ32","个",16.52,5.297]
["64","18090090-0002",null,"PVC塑料弯头","Φ32","个",16.52,{"v":10,"d":"10.000"}]
["65","19380001-0001",null,"碟阀","DN65","个",16.52,{"v":2,"d":"2.000"}]
["66","19380001-0002",null,"塑料球阀","DN50","个",16.52,{"v":1,"d":"1.000"}]
["67","28010090",null,"裸铜线 10mm2","","kg",16.52,{"v":0.2,"d":"0.200"}]
["68","28110165-0001",null,"控制电缆","KVVP 3*1.0","m",16.52,15.225]
["69","28110210-0001",null,"铜芯电缆","VV 3*4.0+2*2.5","m",16.52,{"v":50.5,"d":"50.500"}]
["70","28110210-0002",null,"铜芯电缆","VV 3*2.5+1*1.5","m",16.52,{"v":30.3,"d":"30.300"}]
["71","29060140-0001",null,"PVC电缆保护管","Φ40","m",16.52,{"v":44,"d":"44.000"}]
["72","29060140-0002",null,"PVC电缆保护管","Φ63","m",16.52,{"v":11,"d":"11.000"}]
["73","29110390-0001",null,"防水接线盒","","个",16.52,{"v":1.02,"d":"1.020"}]
["74","32070010-0001",null,"鸢尾","高度50cm 冠幅15cm","株",12.63,{"v":128,"d":"128.000"}]
["75","32070010-0002",null,"菖蒲","冠幅15cm 高度：50cm","株",12.63,{"v":96,"d":"96.000"}]
["76","32070010-0003",null,"再力花","冠幅15cm 高度：50cm","株",12.63,{"v":160,"d":"160.000"}]
["77","32070010-0004",null,"美人蕉","冠幅15cm 高度：50cm","株",12.63,{"v":60,"d":"60.000"}]
[""]
[]
["主要材料设备价格表"]
["工程名称:",null,"化州市鉴江塘岗岭水厂饮用水源保护区环境综合整治工程",{"$nulls":6},"第4页 共6页"]
["序号","材料设备 编码",null,"材料设备名称","规格、型号等  特殊要求","单位","扣税率 (%)","数量","扣税单价 (元)",null,"扣税合价 (元)"]
["78","32070050-0001",null,"草皮","件装 30cm×30cm/件","m2",12.63,{"v":12,"d":"12.000"}]
["79","32070075",null,"草籽混合物","","kg",16.52,{"v":371.28,"d":"371.280"}]
["80","34110010",null,"水","","m3",2.92,391.632]
["81","34110040",null,"电","","kW·h",16.52,{"v":2.88,"d":"2.880"}]
["82","34130010-0001",null,"“保护环境”标识牌","","块",16.52,{"v":1,"d":"1.000"}]
["83","35030050",null,"脚手架钢管 φ51×3.5","","m",16.52,2.909]
["84","36010080-0001",null,"玻璃格栅井盖 ","1000*1000","块",16.52,{"v":1,"d":"1.000"}]
["85","36010080-0003",null,"球墨铸铁井沟双开井盖","1000*1000","块",16.52,{"v":1,"d":"1.000"}]
["86","36010080-0004",null,"球墨铸铁井沟双开井盖","1200*800","块",16.52,{"v":2,"d":"2.000"}]
["87","36010080-0005",null,"机械格栅 ","B=500 L=2900 不锈钢","套",16.52,{"v":1,"d":"1.000"}]
["88","36010080-0006",null,"双层加锁井盖及井座 ","Φ700","块",16.52,{"v":1,"d":"1.000"}]
["89","36010080-0007",null,"304 不锈钢网篮 "," 300*200*150 成品","块",16.52,{"v":1,"d":"1.000"}]
["90","36010080-0008",null,"圆钢格栅 ","520*490","块",16.52,{"v":1,"d":"1.000"}]
["91","51330030-0001",null,"潜污泵","50WQ-12-10-0.75JY-2P","台",16.52,{"v":2,"d":"2.000"}]
["92","55090080-0001",null,"成套配电箱","500*300*200","台",16.52,{"v":1,"d":"1.000"}]
["93","80010630",null,"预拌水泥砂浆 1:2","","m3",16.52,{"v":0.51,"d":"0.510"}]
["94","80010650",null,"预拌水泥砂浆 1:3","","m3",16.52,0.736]
["95","80010680",null,"预拌水泥砂浆 M7.5","","m3","",4.395]
["96","80010750",null,"预拌水泥防水砂浆 1:2","","m3","",8.481]
["97","80010800",null,"预拌砂浆","","m3",16.52,0.145]
["98","80030280-0001",null,"灰土","3:7","m3",16.52,6.206]
["99","80030290",null,"炉(矿)渣 综合","","m3",16.52,1.149]
["100","80050530",null,"预拌水泥石灰砂浆 1:1:6","","m3",16.52,0.258]
["101","80210180",null,"预拌混凝土","","m3","",-2.069]
["102","80210190",null,"普通预拌混凝土 C15","","m3",2.92,12.518]
["103","80210200",null,"普通预拌混凝土 C20","","m3",2.92,5.994]
["104","80210210",null,"普通预拌混凝土 C25","","m3",2.92,113.168]
[""]
[]
["主要材料设备价格表"]
["工程名称:",null,"化州市鉴江塘岗岭水厂饮用水源保护区环境综合整治工程",{"$nulls":6},"第5页 共6页"]
["序号","材料设备 编码",null,"材料设备名称","规格、型号等  特殊要求","单位","扣税率 (%)","数量","扣税单价 (元)",null,"扣税合价 (元)"]
["105","80210220",null,"普通预拌混凝土 C30","","m3",2.92,20.453]
["106","80210230",null,"普通预拌混凝土 C35","","m3",2.92,14.688]
["107","80210300",null,"普通预拌混凝土 C30","抗渗P6","m3",2.92,73.092]
["108","80210671",null,"普通预拌混凝土 C10","","m3",2.92,{"v":13.17,"d":"13.170"}]
["109","80230070",null,"炉(煤)渣混凝土(配合比) C5","","m3","",0.746]
["110","99450630",null,"折旧费","","元",{"v":17,"d":"17.00"},5612.022]
["111","99450640",null,"检修费","","元",{"v":17,"d":"17.00"},1313.132]
["112","99450650",null,"维护费","","元",{"v":17,"d":"17.00"},3826.421]
["113","99450660",null,"安拆费","","元","",{"v":733.33,"d":"733.330"}]
["114","99450670",null,"汽油","(机械用)国Ⅲ93#","kg",{"v":17,"d":"17.00"},4.246]
["115","99450680",null,"柴油","(机械用)0#","kg",{"v":17,"d":"17.00"},{"v":1228.97,"d":"1228.970"}]
["116","99450700",null,"电","(机械用)","kw·h",{"v":17,"d":"17.00"},{"v":2734.38,"d":"2734.380"}]
["117","99450760",null,"其他材料费","","元","",2557.944]
["118","ZC-0006",null,"一体化设备","ECO-MBR-200，Φ2.4*9.9*3.1m","套",16.52,{"v":1,"d":"1.000"}]
["119","ZC-0007",null,"PVC补芯","Φ32*25","个",16.52,{"v":24,"d":"24.000"}]
["120","ZC-0008",null,"同径三通","Φ32*32 PVC","",16.52,{"v":30,"d":"30.000"}]
["121","ZC-0009",null,"PVC清扫口","Φ50","个",16.52,{"v":14,"d":"14.000"}]
["122","ZC-0010",null,"PVC 弯头","Φ50","个",16.52,{"v":3,"d":"3.000"}]
["123","ZC-0012",null,"PVC 弯头","Φ110","个",16.52,{"v":11,"d":"11.000"}]
["124","ZC-0013",null,"同径三通","Φ110*110 PVC","个",16.52,{"v":1,"d":"1.000"}]
["125","ZC-0014",null,"异径三通","Φ110*50 PVC","个",16.52,{"v":14,"d":"14.000"}]
["126","ZC-0015",null,"PVC清扫口","Φ110","个",16.52,{"v":2,"d":"2.000"}]
["127","ZC-0016",null,"PVC 弯头","Φ40","个",16.52,{"v":10,"d":"10.000"}]
["128","ZC-0017",null,"PVC大小头","Φ40","个",16.52,{"v":2,"d":"2.000"}]
["129","ZC-0018",null,"PVC 弯头","Φ63","个",16.52,{"v":7,"d":"7.000"}]
["130","ZC-0019",null,"PVC 弯头","Φ75","个",16.52,{"v":8,"d":"8.000"}]
["131","ZC-0021",null,"异径三通","Φ75*63 PVC","个",16.52,{"v":1,"d":"1.000"}]
["132","ZC-0022",null,"PVC 弯头","Φ500","个",16.52,{"v":1,"d":"1.000"}]
[""]
[]
["主要材料设备价格表"]
["工程名称:",null,"化州市鉴江塘岗岭水厂饮用水源保护区环境综合整治工程",{"$nulls":6},"第6页 共6页"]
["序号","材料设备 编码",null,"材料设备名称","规格、型号等  特殊要求","单位","扣税率 (%)","数量","扣税单价 (元)",null,"扣税合价 (元)"]
["133","ZC-0023",null,"检查井防坠网","Φ1250","套",16.52,0.445]
["134","ZC-0024",null,"检查井防坠网","Φ1500","套",16.52,0.121]
["135","ZC-0025",null,"A3钢","5#槽钢","kg",16.52,8.701]
["136","ZC-0026",null,"防坠网","Φ700","套",16.52,{"v":1,"d":"1.000"}]
["137","ZC-0027",null,"塑钢踏步","","座",16.52,{"v":1,"d":"1.000"}]
[""]